## Contr1
SCHEDULE
Name of the work: Estimate for 25Nos Double Bed Rooms Homes each 2BHK required 1.0 KW Domestic load thus total Domestic load 25KW load at Gonupad Village in Gadwal Mandal in Operation section Gadwal Rural in Gadwal Sub-diviion in Gadwal Division.WBS No.F-2022-45-01-11-02-002
|  |  | Face Value |  | 138711
Sl No | Service Code | Description of work | Qty | Unit | Rates per Unit | Amount
1 | SWR10357 | ERECT. OF LINES-Providing of earthing | 3 | EA | 1210 | 3630
2 | SWR20102 | Erection of 11kv TT type AB switch | 1 | EA | 1777.94 | 1777.94 | 3165.763
3 | SWR10395 | Erect. of 11kv HG Fuseset incl earthing | 1 | SET | 726 | 726
4 | SWR10463 | Erection of Three Phase DTRs | 1 | EA | 1117.6 | 1117.6
5 | SWR10407 | Running of 11kv jumpering to AB switch.. | 1 | EA | 412.5 | 412.5
6 | SWR10674 | Erection of LT distribution box | 1 | EA | 1563.41 | 1563.41
7 | SWR21844 | Column type DTR Plinth topslab 5'x5'x6" | 1 | EA | 24600 | 24600
8 | SMR11487 | S-MS Bolts & Nuts,Washers etc., | 18 | KG | 91.25 | 1642.5
9 | SWR10336 | Erection of CT meter on LV side of DTRs | 1 | EA | 900 | 900 |  | 53656.75
10 | SMR11483 | S-CI Pipe earthing 80mm dia 2.75m long | 3 | EA | 2789 | 8367
11 | SMR11485 | S-Earthing GI flat 25x3 mm incl material | 15 | KG | 105 | 1575
12 | SWR22356 | Laying of 1Core XLPE 120Sqmm Cable | 80 | M | 20 | 1600
13 | SWR10195 | LOADING of 50,63,75&100kva DTR | 1 | EA | 350 | 350
14 | SWR10513 | UNLOADING of 50,63,75&100kva DTR | 1 | EA | 280 | 280
15 | SWR11722 | Paint-Structure/DTR Code & Locaiton Name | 1 | EA | 110 | 110
16 | SWR11332 | Paint-SC Nos on Poles Incl bkground | 25 | EA | 12 | 300
17 | SWR11882 | DTR-Running Interlinking Earth Wire | 5 | KG | 82 | 410
18 | SWR23104 | Erect-11KV Seating Channel | 1 | EA | 131 | 131
19 | SWR23098 | Fix-GPRS Modem & Sim Card | 1 | EA | 300 | 300
20 | SWR24830 | S&Fix-PVC Cleats for LT Cb incl. Cleats | 10 | EA | 27 | 270
21 | SWR22092 | survey line&cabl inc peg mark&tree clear | 0.64 | KM | 650 | 416
22 | SWR20308 | SubTrnsprt 9M PSCC Pole incl. L&UL<10KM | 3 | EA | 399.3 | 1197.9
23 | SWR10107 | EXCAVATION OF PIT (2.6" x 2.6" x 6.0") | 3 | EA | 491 | 1473
24 | SWR10343 | ERECTION OF LINES-Erection of 9.1M Pole | 3 | EA | 2108 | 6324
25 | SWR10365 | Stringing of 55sqmm 33/11kv Line 3 Cond | 0.15 | KM | 8496.87 | 1274.5305
26 | SWR20307 | SubTrnsprt 8M PSCC Pole incl. L&UL<10KM | 24 | EA | 266.2 | 6388.8
27 | SWR10105 | EXCAVATION OF PIT (2.6" x 2.6" x 5.0') | 24 | EA | 424 | 10176
28 | SWR21590 | Erection of 8.0Mts PSCC Poles for stuts | 8 | EA | 1163 | 9304
29 | SWR10356 | Mass concreting of supports incl. cement | 3.96 | M3 | 6450 | 25542
30 | SWR10653 | Formatn of Horiz Cut point for 11KV line | 1 | EA | 1323 | 1323
31 | SWR10342 | ERECTION OF LINES-Erection of 8M Pole | 16 | EA | 1163 | 18608
32 | SWR10367 | Stringing of LT 3ph line 5 condu(34sqmm) | 0.49 | KM | 9991.31 | 4895.7419
33 | SWR10488 | Release of 1Ph service | 25 | EA | 69 | 1725
|  | GRAND TOTAL |  |  |  | 138710.9224
Conditions :
1 | The Contractor will have provide his own labour, T&P and Sub-Transport up to 10km at his cost and above 0.10 to 5.00 km will be paid as per SSR.
2 | The required materials will be Supplied by the TSSPDCL on free of cost except which are not available matching materials in stores.
3 | The Contractor will be responsible for any accident to any of his workers and liability that may arise for payment of compensation under provision of act of A.P.
4 | The work shall be taken up strictly as per the Seniority and management instructions
5 | Agreement concluded with available SSR-2023-24 codes
Signature of the Contractor. |  |  |  | Superintending Engineer
Operation Gadwal.
COMPARATIVE STATEMENT
The Rates quoted by M/s Vijetha Electrical Constructions, Wanaparthy Has Quoted lowest rates. Hence accepted.
Sl No | Service Code | Description of work | Qty | Unit | SSR Rates per Unit
The Rates quoted by Mr. Ravendra Goud, Contractor, K.R.Cheruvu has quoted lowest rates. Hence accepted.
The Rates quoted by Mr. Sreenivasa Goud, Contractor, Shanthinagar has quoted lowest rates. Hence accepted.
The Rates quoted by Mr. E.Nagendra, Contractor, Kurnool has quoted lowest rates. Hence accepted.
The Rates quoted by M/s Vijetha Electricals, Contractor, Wanaparthy has quoted lowest rates. Hence accepted.
The Rates quoted by M/s Harika Electricals, Contractor, Ieeza has quoted lowest rates. Hence accepted.
The Rates quoted by Mr. Praveen Kumar, Contractor, Gadwal has quoted lowest rates. Hence accepted.
| Rates quoted by the Contractor | Amount quoted by the Contractor
Sub-Total:
12.36 % Service tax: | [5 empty] | 0
Total: | [5 empty] | 0
Sri Raghavendra Goud, Civil & Electrical contractor, H. No. 2-21, K.R Cheruvu, Maldakal
Sri E.Nagendra, Contractor, Electrical & Civil Works, H. No. 40-310A, Bhagyanagar, Kurnool
M/s Vijetha Electrical Constructions, H. No. 42-187/6, Vengalrao Colony, Wanaparthy
Sri S.E.Sreenivasa Goud, Contractor, Electrical&Civil Works, Shanthinagar vg., Waddepally M

## Sheet1
1606.5
1500
3106.5
33379.81
13733.04
24403.5
71516.35
. | 68409.85

## Compatibility Report
Compatibility Report for T-2239-45-01-13-02-001.xls
Run on 1/20/2023 22:41
The following features in this workbook are not supported by earlier versions of Excel. These features may be lost or degraded when you save this workbook in an earlier file format.
Significant loss of functionality | # of occurrences
Some cells have overlapping conditional formatting ranges. Earlier versions of Excel will not evaluate all of the conditional formatting rules on the overlapping cells. The overlapping cells will show different conditional formatting. | 6
'Contr1'!B15:B38
'Contr1'!B8
Some cells contain conditional formatting with the 'Stop if True' option cleared. Earlier versions of Excel do not recognize this option and will stop after the first true condition. | 5
'Contr1'!B6:B38